## Message Format
SIA Message Format | <LF><CRC><0LLL><"id"><seq><Rrcvr><Lpref><#acct>[#acct¦Ndata]<timestamp><CR>
Example | C0C3003B"SIA-DCS"0091L0#1788[#1788¦Nri0/RP0000]_13:00:44,11-22-2018
where
crc | Checksum | The CRC is transmitted as four ASCII characters
0LLL | Length | This length element consists of the character "0" (ASCII zero) followed by 3 hex digits (in ASCII) giving the length of the message
"id" | ID Token | The <"id"> field contains an ASCII token to indicate the format used in the data field of the message, and whether or not encryption is used. The quote characters are included in the message
seq | sequence number of each message in Dec format | AjaxHub increments the sequence number to be used as each new message is queued. When the sequence number is 9999, the next sequence number is 0001.
Rrcvr | Receiver Number | This element is optional, AhaxHub doesn't transmit it.
Lpref | Account Prefix | AjaxHub always transmit L0 for this element
#acct | Account number | This element consists of an ASCII "#", followed by 3-16 ASCII characters representing hexadecimal digits for the account number.
[<pad>¦...data...] | Message Data | All data is in ASCII characters and the bracket characters "[" and "]" are included in the transmitted message. The account number data appears at the start of the data, preceded by the "#" character and followed by the field separator "¦"
<timestamp> | The format of the timestamp is: <_HH:MM:SS,MM-DD-YYYY> | The timestamp indicates when the event was queued for transmission to the central station, and may indicate a time significantly different than the time of event occurrence. The timestamp is always transmitted with a reference of GMT
<CR> | This is the ASCII carriage return character, transmitted as a binary value0x0D

## Hub Events
| Event description | Contact ID Code | SIA Code
Hub events
| external power failure | E301 | AT
| external power restored | R301 | AR
| battery low | E302 | YT
| battery charged | R302 | YR
| lid open | E145 | TA
| lid closed | R145 | TR
| radio-frequency interference level is high | E344 | XQ
| radio-frequency interference level is OK | R344 | XH
| Hub is offline. Check mobile signal strength and the Ethernet port | E350 | YC
| Hub is online again | R350 | YK
| turned off | not send via CID | ZZ | Not a standard code
| updating firmware... | not send via CID | RB
| firmware updated | not send via CID | RS
| connection to the monitoring station is lost. Check mobile signal strength and the Ethernet port on the Hub | R354 | YS
Common Device Events
| lid open, [sensor] in [room] | E144 | TA
| lid closed, [sensor] in [room] | R144 | TR
| battery charged, [sensor] in [room] | R384 | XR
| low battery, [sensor] in [room] | E384 | XT
| connection lost, [sensor] in [room] | E381 | XL | Not a standard code
| connection restored, [sensor] in [room] | R381 | XC | Not a standard code
GlassProtect
| glass break detected, [sensor] in [room] | E130 | BA
| external contact open, [sensor] in [room] | E130 | BA
| external contact closed, [sensor] in [room] | R130 | BR
LeakProtect
| water leak detected, [sensor] in [room] | E154 | WA
| no water leak detected, [sensor] in [room] | R154 | WH
| [sensor] moved in [room] | E144 | SM | Not a standard code
MotionProtect & MotionProtect Outdoor
| motion detected, [sensor] in [room] | E130 | BA
| masking detected, check the [sensor] in [room] | E137 | TA
| masking is not detected, [sensor] in [room] | R137 | TR
RangeExtender
| external power failure, [sensor] in [room] | E301 | AT
| external power restored, [sensor] in [room] | R301 | AR
CombiProtect
| motion detected, [sensor] in [room] | E130 | BA
| glass break detected, [sensor] in [room] | E130 | BA
FireProtect & FireProtect Plus
| smoke detected, [sensor] in [room] | E111 | FA
| no smoke detected, [sensor] in [room] | R111 | FH
| temperature above the threshold value, [sensor] in [room] | E114 | KA
| temperature below the threshold value, [sensor] in [room] | R114 | KH
| hardware failure, [sensor] in [room] | E389 | FT
| reset after hardware failure, [sensor] in [room] | R389 | FJ
| smoke chamber dirty, [sensor] in [room] | E393 | FS
| smoke chamber clean, [sensor] in [room] | R393 | FJ
| low reserve battery charge, [sensor] in [room] | E384 | YT
| reserve battery charged, [sensor] in [room] | R384 | YR
| rapid temperature rise detected, [sensor] in [room] | E114 | KA
| rapid temperature rise stopped, [sensor] in [room] | R114 | KH
| faulty detector [sensor] in [room]. Please, contact the service center listed in the warranty card | not send via CID | FS
| the smoke chamber of [sensor] in [room] is OK | not send via CID | FX
| Carbon monoxide (СО) detected, [sensor] in [room] | E162 | GA
| Carbon monoxide (CO) level is OK, [sensor] in [room] | R162 | GH
Keypad
| Disarmed using [sensor] | E409 | OP
| Armed using [sensor] | R409 | CL
| Night mode activated using [sensor] | R409 | NL
| Panic button pressed on [sensor] | E120 | PA
| Attempt to break the password on [sensor] | E461 | JA
| Disarmed using [sensor]- duress | E423 | HA
| unsuccessful arming attempt using [sensor] | not send via CID | not send via SIA
| unsuccessful Night mode activation attempt using [sensor] | not send via CID | not send via SIA
| the system has been armed with malfunctions using [sensor] | R409 | CF
| Night mode activated with malfunctions using [sensor] | R409 | NF
| Night mode deactivated using [sensor] | 400E | NP | Not a standard code
| [room] has been disarmed using [sensor] | 400E | OG
| [room] has been armed using [sensor] | 400R | CG
| [room] has been armed with malfunctions using [sensor] | 400R | CF
| [room] unsuccessful arming attempt using [sensor] | not send via CID | not send via SIA
| [room] has been disarmed using [sensor]- duress | E423 | HA
| Night mode deactivated using [sensor]- duress | E423 | ND | Not a standard code
SpaceControl
| Disarmed using [sensor] | E409 | OP
| Armed using [sensor] | R409 | CL
| Night mode activated using [sensor] | R409 | NL
| Panic button pressed on [sensor] | E120 | PA
| unsuccessful arming attempt using [sensor] | not send via CID | not send via SIA
| unsuccessful Night mode activation attempt using [sensor] | not send via CID | not send via SIA
| the system has been armed with malfunctions using [sensor] | R409 | CF
| Night mode activated with malfunctions using [sensor] | R409 | NF
| Night mode deactivated using [sensor] | 400E | NP | Not a standard code
| [group] has been disarmed using [sensor] | 400E | OG
| [group] has been armed using [sensor] | 400R | CG
| [group] has been armed with malfunctions using [sensor] | 400R | CF
| [group] unsuccessful arming attempt using [sensor] | not send via CID | -
DoorProtect & DoorProtect Plus
| open, [sensor] in [room] | E130 | BA
| closed, [sensor] in [room] | R130 | BR
| external contact open, [sensor] in [room] | E130 | BA
| external contact closed, [sensor] in [room] | R130 | BR
| shock detected by [sensor] in [room] | E144 | BA
| tilt detected by [sensor] in [room] | E130 | BA
| the accelerometer of the [sensor] in [room] room doesn't work properly. Please, contact the service center listed in the warranty card | E377 | BS
| the accelerometer of the [sensor] in [room] is OK | R377 | BR
Transmitter
| alarm is detected, [sensor] in [room] | E130 | BA
| recovered after alarm, [sensor] in [room] | R130 | BR
| alarm is detected, [sensor] in [room] (pulse mode) | E130 | BA
| [sensor] was moved in [room] | E144 | SM | Not a standard code
StreetSiren
| [sensor] was moved in [room] | E144 | SM | Not a standard code
| external power failure, [sensor] in [room] | E337 | YP
| external power restored, [sensor] in [room] | R337 | YQ
User
| Disarmed by [user] | E400 | OP
| Armed by [user] | R400 | CL
| Night mode activated by [user] | R400 | NL
| [user] pressed the panic button | E120 | PA
| new user [user] has been added | not send via CID | not send via SIA
| user [user] has been removed | not send via CID | not send via SIA
| unsuccessful arming attempt by [user] | not send via CID | not send via SIA
| unsuccessful Night mode activation attempt by [user] | not send via CID | not send via SIA
| the system has been armed with malfunctions by [user] | 400R | CF
| Night mode activated with malfunctions by [user] | 400R | NF
| Night mode deactivated by [user] | 400E | NP | Not a standard code
| [group] has been disarmed by [user] | 400E | OG
| [group] has been armed by [user] | 400R | CG
| [group] has been armed with malfunctions by [user] | 400R | CF
| [group] unsuccessful arming attempt by [user] | not send via CID | not send via SIA
| [group] has been disarmed by [user] - duress | E423 | HA
| Disarmed by [user]- duress | E423 | HA
| Night mode deactivated by [user]- duress | E423 | ND | Not a standard code

## SIA Events
AR | AC restoral | AC power has been restored | zone | Ajax use
AT | AC trouble | AC power has been failed | zone | Ajax use
BA | Burglary alarm | Burglary zone has been violated while armed | zone | Ajax use
BB | Burglary bypass | Burglary zone has been bypassed | zone
BC | Burglary cancel | Alarm has been cancelled | user
BH | Burglary A. rest. | Alarm condition eliminated | zone
BJ | Burglary T. rest. | Trouble condition eliminated | zone
BR | Burglary restoral | Alarm/trouble condition eliminated | zone | Ajax use
BS | Burglary supervisory. | Unsafe intrusion detection system condition | zone | Ajax use
BT | Burglary trouble | Burglary zone activated during testing | zone
BU | Burglary unbypass | Zone bypass has been removed | zone
BV | Burglary Verified | More than 3 burglary zones have been triggered | zone
BX | Burglary test | Burglary zone activated during testing | zone
CA | Automatic closing | System armed automatically | area
CE | Closing extend | Extend closing time | user
CF | Forced closing | System armed, some zones not ready | user | Ajax use
CG | Close area | System has been partially armed | user | Ajax use
CI | Fail to close | An area has not been armed at the end of the closing window | user
CJ | Late close | An area was armed after the closing window | user
CK | Early close | An area was armed before the closing window | user
CL | Closing report | System armed normal | user | Ajax use
CP | Automatic closing | System armed automatically | user
CR | Recent Closing | An alarm occurred within five minutes after the system was closed | user
CS | Closing switch | Account has been armed by Keyswitch | zone
CT | Late to open | System was not disarmed on time | area
CW | Was force armed | Header for a force armed session, forced point msg. May follow | area
CZ | Point closing | A point, as opposed to a whole area or account, has closed. | Zone
DC | Access closed | Access to all users prohibited | door
DD | Access denied | Access denied, unknown code | door
DF | Door forced | Door opened without access request | door
DG | Access granted | Door access granted | door
DK | Access lockout | Access denied, known code | door
DO | Access open | Access to authorised users allowed | door
DR | Door restoral | access alarm/trouble condition eliminated | door
DS | Door station | Identifies door for next report | door
DT | Access trouble | Access system trouble | unused
DU | dealer ID | Zone description gives dealer ID # | dealer ID
EA | Exit Alarm | an exit zone remained violated at the end of the exit delay period | zone
EE | Exit error | an exit zone remained violated at the end of the exit delay Period | user
ER | Expansion rest. | Expansion device trouble eliminated | expander #
ET | Expansion trouble | Expansion device trouble | expander #
FA | Fire alarm | Fire condition detected | zone | Ajax use
FB | Fire bypass | Zone has been bypassed | zone
FH | Fire Alarm restore | Alarm condition eliminated | zone | Ajax use
FI | Fire test begin | The transmitter area's fire test has begun | area
FJ | Fire Trouble restore | Trouble condition eliminated | zone | Ajax use
FK | Fire test end | The transmitter area's fire test has ended | area
FR | Fire restoral | Alarm/trouble condition has been eliminated | zone
FS | Fire supervisory | Unsafe fire detection system condition | zone | Ajax use
FT | Fire trouble | Zone disabled by fault | zone | Ajax use
FU | Fire unbypass | Bypass has been removed | zone
FX | Fire test | Fire zone activated during test | zone | Ajax use
FY | Missing fire Trouble | A fire point is now logically missing | zone
GA | Gas alarm | Gas alarm condition detected | zone | Ajax use
GB | Gas bypass | Zone has been bypassed | zone
GH | Gas A. restore | Alarm condition eliminated | zone | Ajax use
GJ | Gas T. restore | Trouble condition eliminated | zone
GR | Gas restoral | Alarm \ trouble condition has been eliminated | zone
GS | Gas supervisory | Unsafe gas detection system condition | zone
GT | Gas trouble | Zone disabled by fault | zone
GU | Gas unbypass | Bypass has been removed | zone
GX | Gas test gas | Zone activated during test | zone
HA | Hold-up alarm | Silent alarm, user under duress | zone | Ajax use
HB | Hold-up bypass | Zone has been bypassed | zone
HH | Hold-up A. rest. | Alarm condition eliminated | zone
HJ | Hold-up T. rest. | Trouble condition eliminated | zone
HR | Hold-up restoral | Alarm \ trouble condition eliminated | zone
HS | Hold-up supervisory. | Unsafe holdup system condition | zone
HT | Hold-up trouble | Zone disabled by default | zone
HU | Hold-up unbypass | Bypass has been removed | zone
JA | User code tamper | Too many unsuccessful attempts have been made to enter a user ID | zone | Ajax use
JC | User code tamper canceled | Break password restore | zone | Ajax use
JD | Date changed | The date was changed in the transmitter/receiver | user
JH | Holiday changed | The transmitter's holiday schedule has been changed | user
JL | Log threshold | The transmitter's log memory has reached its threshold level | unused
JO | Log overflow | The transmitter's log memory has overflowed | unused
JR | Schedule execute | An automatic scheduled event was executed | area
JS | Schedule change | An automatic schedule was changed | user
JT | Time changed | The time was changed in the TX\RX | user
JV | User code change | A user's code has been changed | user
JX | User code delete | A user's code has been removed | user
KA | Heat alarm | High temperature detected on premise | zone | Ajax use
KB | Heat bypass | Zone has been bypassed | zone
KH | Heat Alarm restore | Alarm condition eliminated | zone | Ajax use
KJ | Heat Trouble restore | Trouble condition eliminated | zone
KR | Heat restoral | Alarm/Trouble condition has been eliminated | zone
KS | Heat supervisory | Unsafe heat detection system condition | zone
KT | Heat trouble | Zone disable by fault | zone
KU | Heat unbypass | Bypass has been removed | zone
LB | Local program | Begin local programming begin | unused
LD | Local program Denied | access code incorrect | unused
LE | Listen-in ended | The listen-in session has been terminated | unused
LF | Listen-in begin | The listen-in session with the receiver has begun | unused
LR | Phone line rest. | Phone line restored to service | line
LS | Local program | Local programming successful | unused
LT | Phone line Trouble | Phone line report | line
LU | Local program fail | Local programming unsuccessful | unused
LX | Local program ended | A local programming session has been terminated | unused
MA | Medical alarm | Emergency assistance request | zone
MB | Medical bypass | Zone has been bypassed | zone
MH | Medical Alarm restore | Alarm condition eliminated | zone
MJ | Medical T. rest. | Trouble condition eliminated | zone
MR | Medical restoral | Alarm/trouble condition has been eliminated | zone
MS | Medical supervisory | Unsafe system condition exists | zone
MT | Medical trouble | Zone disabled by fault | zone
MU | Medical unbypass | Bypass has been removed | zone
NA | No activity | There has been no activity for a programmed amount of time | unused
NF | Forced perimeter arm | Some zones/points not ready | area | Ajax use
NL | Perimeter armed | An area has been perimeter armed | area | Ajax use
NP | Perimeter disarmed | An area has been perimeter disarmed | area | Ajax use
ND | Perimeter disarmed under duress | An area has been perimeter disarmed. Silent alarm, user under duress | area | Ajax use
OA | Automatic opening | System has disarm automatically | area
OC | Cancel report | Untyped zone cancel | user
OG | Open area | System has been partially disarmed | area | Ajax use
OI | Fail to open | An area has not been armed at the end of the opening window | area
OJ | Late open | An area was disarmed after the opening window | user
OK | Early open | An area was disarmed before the opening window | user
OP | Opening report | Account was disarmed | user | Ajax use
OR | Disarm from alarm | Account in alarm was reset/disarmed | user
OS | Opening Keyswitch | account has been disarmed by Keyswitch | zone
OT | Late to close | System was not armed on time | user
OZ | Point opening | A point, rather than a full area or account, disarmed | zone
PA | Panic alarm | Emergency assistance request, manually activated | zone | Ajax use
PB | Panic bypass | Panic zone has been bypassed | zone
PH | Panic Alarm restore | Alarm condition eliminated | zone
PJ | Panic Trouble restore | Trouble condition eliminated | zone
PR | Panic restoral | Alarm/trouble condition has been eliminated | zone
PS | Panic Supervisory | Unsafe system condition exists | zone
PT | Panic trouble | Zone disabled by fault | zone
PU | Panic unbypass | Panic zone bypass has been removed | zone
QA | Emergency alarm | Emergency assistance request | zone
QB | Emergency bypass | Zone has been bypassed | zone
QH | Emergency. A. rest. | Alarm condition has been eliminated | zone
QJ | Emergency. T. rest. | Trouble condition has been eliminated | zone
QR | Emergency. Restoral | Alarm/trouble condition has been eliminated | zone
QS | Emergency. Supervisory | Unsafe system condition exists | zone
QT | Emergency Trouble | Zone disabled by fault | zone
QU | Emergency. Unbypass | Bypass has been removed | zone
RA | Remote Programmer Called failed | Transmitter failed to communicate with the remote programmer | unused
RB | Remote Program begin | Remote programming session initiated | zone | Ajax use
RC | Relay close | The relay specified in the address field (optional) has energised | relay
RD | Remote Program Denied | Access passcode incorrect | unused
RN | Remote reset | A transmitter was reset via a remote programmer | unused
RO | Relay open | The relay specified in the address field (optional) has deenergised | relay
RP | Automatic test | Automatic communication test report | unused
RR | Power up | System lost power, is now restored | unused
RS | Remote Program success | Remote programming successful | zone | Ajax use
RT | Data lost | Dialer data lost, transmission error | line
RU | Remote Program fail | Remote programming unsuccessful | unused
RX | Manuel test | Manuel communication test report | user
SA | Sprinkler alarm | Sprinkler flow condition exist | zone
SB | Sprinkler. Bypass | Sprinkler zone has been bypassed | zone
SH | Sprinkler. Alarm restore | Alarm condition eliminated | zone
SJ | Sprinkler. Trouble restore | trouble condition eliminated | zone
SM | Sensor Moved | Sensor was moved | zone | Ajax use
SC | Sensor Moved Restore | Sensor moving canceled | zone | Ajax use
SR | Sprinkler. Restore | Alarm/Trouble condition has been eliminated | zone
SS | Sprinkler. supervisory. | Unsafe sprinkler system condition | zone
ST | Sprinkler. Trouble | Zone disabled by fault | zone
SU | Sprinkler. unbypass | Sprinkler zone bypass has been removed | zone
TA | Tamper alarm | Alarm equipment enclosure opened | zone | Ajax use
TB | Tamper bypass | Tamper detection has been bypassed | zone
TE | Test end | Communicator restored to operation | unused
TR | Tamper restoral | Alarm equipment enclosure has been closed | zone | Ajax use
TS | Test start | Communicator taken out of operation | unused
TU | Tamper unbypass | Tamper detection bypass has been removed | zone
TX | Test Report | an unspecified (manual or automatic) communicator test | zone
UA | Untyped zone Alarm | Alarm condition from zone of unknown type | zone
UB | Untyped zone Bypass | Zone of unknown type has been bypassed | zone
UH | Untyped Alarm restoral | Alarm condition eliminated | zone
UJ | Untyped Trouble restoral | Trouble condition eliminated | zone
UR | Untyped zone restoral | Alarm/Trouble condition eliminated from zone of unknown type | zone
US | Untyped zone sup. | Unsafe condition from zone OK unknown type | zone
UT | Untyped zone Trouble | Trouble condition from zone of unknown type | zone
UU | Untyped zone unbypass | Bypass on zone of unknown type has been removed | zone
UX | Undefined | An undefined alarm condition has occurred | unused
UY | Untyped missing Trouble | A point which was not armed is now logically missing | zone
UZ | Untyped missing Alarm | A point which was armed is now logically missing | zone
VI | Printer paper in | Transmitter or receiver paper in, printer X | printer
VO | Printer paper out | Transmitter or receiver paper out, printer X | printer
VR | Printer restore | Transmitter or receiver trouble restored, printer X | printer
VT | Printer trouble | Transmitter or receiver trouble, printer X | printer
VX | Printer test | Transmitter or receiver test, printer X | printer
VY | Printer on line | The receiver's printer is now on line | unused
VZ | Printer off line | The receiver's printer is now off line | unused
WA | Water alarm | Water detected at protected premise | zone | Ajax use
WB | Water bypass | Water detection has been bypassed | zone
WH | Water alarm restoral | Alarm condition eliminated | zone | Ajax use
WJ | Water trouble restoral | Trouble condition eliminated | zone
WR | Water restoral | Alarm/Trouble condition has been eliminated | zone
WS | Water supervisory | Unsafe water detection system condition | zone
WT | Water trouble | Zone disable by fault | zone
WU | Water unbypass | Water detection bypass has been removed | zone
XE | Extra point | The panel has sensed an extra point not specified for this site | point
XF | Extra RF point | The panel has sensed an extra RF point not specified for this site | point
XI | Sensor reset | A user has reset a sensor | zone
XH | RF Interference restoral | A radio device is no longer detecting RF Interference | zone | Ajax use
XQ | RF Interference | A radio device is detecting RF Interference | zone | Ajax use
XR | TX battery restoral | Low battery has been corrected | zone | Ajax use
XT | TX battery trouble | Low battery in wireless transmitter | zone | Ajax use
XL | Connection lost | Connection with wireless transmitter lost | zone | Ajax use
XC | Connection restored | Connection with wireless transmitter restored | zone | Ajax use
XW | Forced point | A point was forced out of the system at arm time | zone
YB | Busy seconds | Percent of time receiver's line card is on-line | line
YC | Communication fail | Receiver and transmitter | zone | Ajax use
YD | RX line card trouble | A line card identified by the passed address is in trouble | line
YE | RX line card restoral | A line card identified by the passed address is restored | line
YF | Parameter checksum fail | System data corrupted | unused
YG | Parameter changed | A transmitter's parameters have been changed | zone | Ajax use
YK | Communication Restoral | The transmitter has resumed communication with a receiver | zone | Ajax use
YM | System battery missing | The transmitter/receiver battery is missing | unused
YN | Invalid report | The transmitter has sent a packet with invalid data | unused
YO | Unknown message | An unknown message was received from automation or the printer | unused
YP | Power supply trouble | The transmitter/receiver has a problem with the power supply | unused
YQ | Power supply restored | The transmitter/receiver's power supply has been restored | unused
YR | System battery restoral | Low battery has been corrected | zone | Ajax use
YS | Communication trouble | Receiver and transmitter | zone | Ajax use
YT | System battery trouble | Low battery in control/communicator | zone | Ajax use
YW | Watchdog reset | The transmitter created an internal reset | unused
YX | Service required | A transmitter/receiver needs service | unused
YY | Status report | This is a header for an account status report transmission | unused
YZ | Service completed | required transmitter / receiver service completed | mfr defined
ZA | Freeze alarm | Low temperature detected at premise | zone
ZB | Freeze bypass | Low temperature detection has been bypassed | zone
ZH | Freeze A. restore | Alarm condition eliminated | zone
ZJ | Freeze T. restore | Trouble condition eliminated | zone
ZR | Freeze restoral | Alarm/Trouble condition has been eliminated | zone
ZS | Freeze supervisory | Unsafe freeze detection system condition | zone
ZT | Freeze trouble | Zone disabled by fault | zone
ZU | Freeze unbypass | Low temperature detection bypass removed | zone
ZZ | Turned off | Hub was turned off | receiver number